## Read_Me
Welcome to OCWA's reporting template! Below you will find naming keys and legends to assist you with data entry.
If you have any questions do not hesitate to contact our team at: |  | Labstats@ocwa.com
Please verify that data is inputted into the correct tabs based on the platform(s) used. qPCR platforms = BROWN tabs, dPCR = PURPLE tabs
Worksheet Name Key
Read_Me | Contains name key and legends to assist user with input (this worksheet).
Lab_Code | User required to input their unique Lab Code. The date of sample generation and site ID will be pre-populated.
Method_Summary | Input data about the laboratory methods used for analysis.
Std_Curve_Data | Input raw data from standard curve calibrations.
Std_Curve_Calc
Std_Curve_Summary | Summarize the raw standard curve calibrations.
qPCR_QC_Data | qPCR - Input quality control data here.
dPCR_QC_Data | dPCR - Input quality control data here.
ESV_CF_Calc | Calculator to assist with determination of ESV, dESV, and CF values.
qPCR_Sample_Data | qPCR - Input wastewater sample analysis data. Please remember to input inhibition raw data as well.
dPCR_Sample_Data | dPCR - Input wastewater sample analysis data.
Qualifier Flowchart | Flowchart from, "Protocol for Evaluations of RT-qPCR Performance Characteristics" to assist with determining qualifiers.
Dropdown_Data | Contains the data that populates the various dropdown lists. If required new items can be added (please document in the Notes section of the applicable worksheet).
Cell Shading Legend
Excel calculated cells
User input required
Example of user input
Read only cells for titles, labels, and descriptions
Worksheet Tab Colour Legend
Read only worksheet for reference
Worksheet that requires user input (both dPCR and qPCR)
qPCR - specific worksheet
dPCR - specific worksheet
Calculator

## Lab_Code
ENTER YOUR LAB_ID BASED ON THE TABLE BELOW: |  | 999 |  | SampleLab |  | Sample_Date | 20240722
[6 empty] | Sample_Site | Unduli
LAB_ID | Laboratory | City/Region | Province/State | Country | Type
1 | University of Ottawa | Ottawa | ON | Canada | University
2 | University of Waterloo | Waterloo | ON | Canada | University
3 | University of Windsor | Windsor | ON | Canada | University
4 | Toronto Metropolitan University | Toronto | ON | Canada | University
5 | University of Guelph-Goodridge | Guelph | ON | Canada | University
6 | University of Guelph - Habash | Guelph | ON | Canada | University
7 | Queen’s University | Kingston | ON | Canada | University
8 | Carleton University | Ottawa | ON | Canada | University
9 | Ontario Technology University | Oshawa | ON | Canada | University
10 | HSNRI | Greater Sudbury | ON | Canada | Public Research Lab
11 | McMaster University (St. Joseph's Healthcare Hamilton) | Hamilton | ON | Canada | University
12 | University of Toronto | Toronto | ON | Canada | University
13 | Trent University | Peterborough | ON | Canada | University
14 | Western University | London | ON | Canada | University
15 | Bureau Veritas | Mississauga | ON | Canada | Commercial
16 | SGS Labs | Selwyn | ON | Canada | Commercial
17 | SiRem Laboratory | Guelph | ON | Canada | Commercial
18 | PHAC-NML – Mangat | Winnipeg | MB | Canada | Federal Public Health Lab
19 | PHAC-NML - Landgraff | Winnipeg | MB | Canada | Federal Public Health Lab
20 | BC CDC PHL | Vancouver | BC | Canada | Provincial Public Health Lab
21 | University of Alberta - Pang | Edmonton | AB | Canada | University
22 | Taiga Environmental Laboratory | Yellowknife | NT | Canada | Territorial Environmental Lab
23 | Polytechnique Montreal | Montreal | QC | Canada | University
24 | Toxicology Centre, University of Saskatchewan | Saskatoon | SK | Canada | University
25 | University of Calgary | Calgary | AB | Canada | University
26 | McGill University | Montreal | QC | Canada | University
27 | Univ. Laval | Quebec City | QC | Canada | University
28 | Eurofins EnvironeX Laboratory | Longueuil | QC | Canada | Commercial
29 | Promega | Madison | WI | United States | Commercial
30 | LuminUltra Technologies | Miami Lakes | FL | United States | Commercial
31 | Dalhousie University | Halifax | NS | Canada | University
32 | University of Regina | Regina | SK | Canada | University
33 | Biobot Analytics | Cambridge | MA | United States | Commercial
34 | IDEXX | Kingston | ME | United States | Commercial
35 | Kraken Sense | Oakville | ON | Canada | Commercial
36 | CHU-Dumont, Laboratoire de microbiologie | Moncton | NB | Canada | Public Health Lab
37 | MELCC - Ministère de l'Environnement et de la Lutte contre les changements climatiques du Québec | Quebec City | QC | Canada | Provincial Environmental Lab
38 | McMaster University - Li (Engineering) | Hamilton | ON | Canada | University
39 | UQAR | Rimouski | QC | Quebec | University
40 | TU Wien - Technische Universität Wien | Vienna | - | Austria | University
41 | INSPQ | Quebec City | QC | Canada | Provincial Public Health Lab
42 | Galenvs Sciences Inc. | Montreal | QC | Canada | Commercial
43 | University of Iowa | Coralville | IA | United States | Public Health Lab
44 | Saskatchewan Health Authority | Regina | SK | Canada | Provincial Public Health Lab
45 | Alberta Precision Laboratories (Public Health Laboratory) | Edmonton | AB | Canada | Public Health Lab
46 | Morgan State University | Baltimore | MD | United States | University
47 | Marshall University | Huntington | WV | United States | University
48 | Verily | San Francisco | CA | United States | Commercial
49 | Public Health Ontario | - | ON | Canada | Provincial Public Health Lab
50 | Rhode Island Department of Health | Providence | RI | United States | State Public Health Lab
51 | University of Prince Edward Island | Charlottetown | PEI | Canada | University
999 | SampleLab | Somewhere | Here | There | Entity

## Method_Summary
PLEASE COMPLETE THE FOLLOWING METHOD SUMMARY (YELLOW HIGHLIGHTED CELLS)
Do NOT use a different method code if the pre-analytical steps (i.e., concentration/extraction steps) are the same. For example, if two targets (PMMoV and SARS-CoV-2) are characterized from the SAME RNA extract, the method is regarded as the same and should be described in the same method column entry. Differences in thermocycling conditions can be noted per the example.
|  | Value Type | var_name | EXAMPLE | Start here ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓ | Enter here if more methods are used ↓
| Laboratory Code | Auto-generated based on previous selection | Lab_ID | 99 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999 | 999
| Method Code | Integer > 0 | Method_ID | 1 | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10
| Is this the method used in regular wastewater monitoring activities? | Yes/No | Regular | 1: Yes; 1: Yes
PREPARATION/CONCENTRATION
SAMPLE PREPARATION, CONCENTRATION STEPS | Solids fraction analyzed? (Yes / No) | Yes/No | Solids | 1: Yes; 1: Yes
| If applicable: Solids fraction analyzed separately (Yes / No) | Yes/No | Solids_sep | 1: Yes; 1: Yes
| If applicable: Is the entire pellet processed? (Yes / No) | Yes/No | Pellet | 1: Yes; 1: No
| Summary of concentration pipeline | Text; please note details of concentration steps taken (ie. Centrifugation, filtration, ) | Conc_pipe | 1: Mix 15 mL wastewater with 0.25% (v/v) Tween-20 Centrifugation 4000 x G (20 min.) @ 4˚C Pellet is reserved separatley for extration, the entire pellet is used. Supernatant decanted into Amicon (10 kDa, Millipore Sigma, USA) , centrifugation 4000 x G (30 min.) 250 µL of wastewater viral concentrate obtained per sample; 1: Mix 15 mL wastewater with 0.25% (v/v) Tween-20 Centrifugation 4000 x G (20 min.) @ 4˚C Pellet is reserved separatley for extration, the entire pellet is used. Supernatant decanted into Amicon (10 kDa, Millipore Sigma, USA) , centrifugation 4000 x G (30 min.) 250 µL of wastewater viral concentrate obtained per sample
| Wastewater Process Volume (mL) | Decimal > 0 | WW_mL | 1: 15; 1: 200
| Water added to dilute the sample (mL) | If not diluted then leave blank; Otherwise enter the actual volume of the water | Dil_mL | 1: 30
| Dilution Factor of wastewater sample (If Applicable) | ratio (autogenerated) | WW_dil_factor | 1: 1:3
| Concentrate Volume (mL) | Decimal > 0; if each biological/technical replicate has a unique ESV/CF, report them individually in the Notes column of the appropriate Sample and/or QC tabs | Conc_mL | 1: 0.25
| Storage / freezing of concentrates Prior to extraction? (include temperature/condition) | Text | Prep_freeze | bar: 1 to 1
EXTRACTION
PELLET-BASED METHOD EXTRACTION STEP | Particle-associated extraction method | Text | Pellet_extract | 1: PowerMicrobiome (Qiagen, USA)
| Quantity In If all the collected solids are processed please use your Process Volume as the "Quantity In" and indicate mL as the the unit | decimal greater than 0 | Pellet_quant | 1: 200
| Quantity In Unit | mg/mL | Pellet_unit | bar: 1
| Elution Vol. (µL) (Solids) | decimal greater than 0 | Pellet_elut | 1: 100
SUPERNATANT/ TOTAL-BASED METHOD EXTRACTION STEP | Supernatant or Total Method used | Text | Super_total | 1: Qiagen QIAamp Viral Mini kit (Qiagen, USA); 1: AllPrep PowerViral DNA/RNA Kit - QIAGEN
| Volume of concentrate extracted (µL) | decimal greater than 0 | Suptot_ext_uL | 1: 200; 1: 200
| Elution Vol. (µL) (Sup/Tot) | decimal greater than 0 | Suptot_elut | 1: 100; 1: 100
| Storage / freezing of RNA extracts prior to quantification? (include temperature/condition) | Text | Extract_freeze | 1: RNA extracts stored at -80C prior to quantification.; 1: NA
IF RNA EXTRACT IS DILUTED (e.g., to address inhibition) | Volume of Diluent added to the elution volume (µL) | decimal >0; if not diluted leave blank | Diluent_uL | 1: 900
| Dilution Factor post-extraction (if applicable) | ratio (autogenerated) | Ext_dil_factor | 1: 1:10
QUANTIFICATION
Platform | qPCR, dPCR, or both | Text | qPCR_dPCR | 1: qPCR; 1: both
RT-qPCR | Instrument | Text | qPCR_inst | 1: QS5; 1: CFX96 [SARS-CoV-2], QS5 [PMMoV]
| One-step or two-step | Text | qPCR_steps | 1: One-step; 1: One-step
| Reverse Transcription reaction | Text | qPCR_RT | 1: 25˚C (2 min.); 50˚C (15 min.) [SARS-CoV-2], 30˚C (1 min.); 55˚C (15 min.) [PMMoV]; 1: 25˚C (2 min.); 50˚C (15 min.) [SARS-CoV-2], 30˚C (1 min.); 55˚C (15 min.) [PMMoV]
| Polymerase activation | Text | qPCR_PA | 1: 95˚C (2 min) [SARS-CoV-2]; 95˚C (2.5 min) [PMMoV];; 1: 95˚C (2 min) [SARS-CoV-2]; 95˚C (2.5 min) [PMMoV];
| Denaturation, Annealing / Extension | Text | qPCR_denat | 1: 25˚C (2 min.); 50˚C (15 min.) [SARS-CoV-2 & PMMoV]; 1: 25˚C (2 min.); 50˚C (15 min.) [SARS-CoV-2 & PMMoV]
| Mastermix | Text | qPCR_master | 1: Taqpath 1-step CG; 1: Taqpath 1-step CG
| Template Volume (µL) | decimal greater than 0 | qPCR_template | 1: 5 [SARS-CoV-2], 2 [PMMoV]; 1: 5 [SARS-CoV-2], 2 [PMMoV]
| Final Reaction Volume (µL) | decimal greater than 0 | qPCR_final_vol | 1: 20 [all targets]; 1: 20 [all targets]
| Instrument threshold: Automatic or Manual | Text | qPCR_thresh | 1: Manual; 1: Manual
| Instrument threshold cycle | decimal greater than 0 OR text input for range of baslines, target-specific | qPCR_thresh_cycle | 1: 0.02; 6: r
| Inhibition Indicator | Text | qPCR_inhib | 1: PMMoV, Xeno etc; 1: EDX
| Description of Inhibition Control Application, and steps to resolve | Text | qPCR_inhib_desc | 1: Samples are diluted 1:10 and the shift in PMMoV is compared to the expected value; 1: Samples are spiked with 200 copies of EDX SARS-CoV-2 Standard and the shift in Ct is compared to positive controls which only contain EDX template and no sample
| Cycle delay to be deemed as inhibition | Text | qPCR_cycle_delay | 1: >2 cycles from expected - 3.3218; 1: >1 cycle from expected
| Did you use your own process control? (Yes/No) | Yes/No | qPCR_control | bar: 1 to 1
| Custom Process Control Details | Text | qPCR_control_desc | 1: n/a; 1: N/A
RT-dPCR | Instrument(s) & plate type [if applicable] | Text | dPCR_inst | 1: QuantStudio 3D Digital Real-Time PCR System; 1: QuantStudio Absolute Q Digital PCR System (Applied Biosystems)
| One-step or two-step | Text | dPCR_steps | 1: One-step; 1: One-step
| Reverse Transcription reaction | Text | dPCR_RT | 1: 25˚C (2 min.); 50˚C (15 min.); 1: 25˚C (2 min.); 50˚C (15 min.)
| Polymerase activation | Text | dPCR_PA | 1: 95˚C (2 min); 1: 95˚C (2 min)
| Denaturation, Annealing / Extension | Text | dPCR_denat | 1: 25˚C (2 min.); 50˚C (15 min.); 1: 25˚C (2 min.); 50˚C (15 min.)
| Mastermix | Text | dPCR_master | 1: Absolute Q™ 1-step RT-dPCR Master Mix (4X); 1: Absolute Q™ 1-step RT-dPCR Master Mix (4X)
| Template Volume (µL) | decimal greater than 0 | dPCR_template | 1: 5; 1: 5
| Final Reaction Volume (µL) | decimal greater than 0 | dPCR_final_vol | 1: 40; 1: 40
| Instrument threshold: Automatic or Manual | Text | dPCR_thresh | 1: Manual; 1: Manual
| Inhibition Indicator | Text | dPCR_inhib | 1: Xeno; 1: Xeno
| Description of Inhibition Control Application, and steps to resolve | Text | dPCR_inhib_desc | 1: Positive spike-in control within ±25% of the target content expected value; 1: Positive spike-in control within ±25% of the target content expected value
| Threshold to be deemed as inhibition | Text | dPCR_inhib_thresh | 1: Positive spike-in 25% lower than expected value; 1: Positive spike-in 25% lower than expected value
| Did you use your own process control? (Yes/No) | Yes/No | dPCR_control | bar: 1 to 1
| Custom Process Control Details | Text | dPCR_control_desc | 1: n/a; 1: n/a

## Std_Curve_Data
[10 empty] | Cycle Number |  |  | Used in Standard Curve? (Y/N)
[10 empty] | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3
| Lab_ID | Type | Method_Used | Biological_Replicate | Standard_Material | Spike (A/B/N) | Target | Target_Gene(s) | Fraction | Technical_Replicate_1_CycleNo | Technical_Replicate_2_CycleNo | Technical_Replicate_3_CycleNo | Indicator_TR1 | Indicator_TR2 | Indicator_TR3 | Conc_std (for Standard Curves) | Result_units | Notes
EXAMPLE | 99 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Solids | 20.6096 | 20.7263 | 20.6799 | TRUE | TRUE | TRUE | 1000 | gene copies/reaction
Start here => | 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 28.1 | 28.2 | 28.3 | TRUE | TRUE | TRUE | 1000 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 29.7 | 29.8 | 29.9 | TRUE | TRUE | TRUE | 400 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 30.7 | 30.8 | 30.9 | TRUE | TRUE | TRUE | 200 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 31.7 | 31.8 | 31.9 | TRUE | TRUE | TRUE | 100 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 33.7 | 33.8 | 31.9 | TRUE | FALSE | TRUE | 20 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N1 | Total | 36.7 | 36.8 | 36.9 | TRUE | TRUE | TRUE | 5 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 28.1 | 28.2 | 28.3 | TRUE | TRUE | TRUE | 1000 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 29.7 | 29.8 | 29.9 | TRUE | TRUE | TRUE | 400 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 30.7 | 30.8 | 30.9 | TRUE | TRUE | TRUE | 200 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 31.7 | 31.8 | 31.9 | TRUE | TRUE | TRUE | 100 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 33.7 | 33.8 | 31.9 | TRUE | TRUE | TRUE | 20 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | EDX | N | SARS-CoV-2 | N2 | Total | 36.7 | 36.8 | 36.9 | TRUE | FALSE | TRUE | 5 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 19.1 | 19.2 | 19.3 | FALSE | TRUE | TRUE | 7250000 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 20.1 | 20.2 | 20.3 | TRUE | TRUE | TRUE | 725000 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 23.8 | 23.9 | 24 | TRUE | TRUE | TRUE | 72500 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 27.4 | 27.5 | 27.6 | TRUE | TRUE | TRUE | 7250 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 30.7 | 30.8 | 30.9 | TRUE | TRUE | TRUE | 725 | gene copies/reaction
| 999 | Standard Curve | 1 | 1 | Concatenated Plasmid | N | PMMoV |  | Total | 34 | 34.1 | 34.2 | TRUE | TRUE | TRUE | 72.5 | gene copies/reaction
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve
| 999 | Standard Curve

## Std_Curve_Summary
[8 empty] | Forward Primer Sequence |  |  | Reverse Primer Sequence |  |  | Probe Sequence
| Lab_ID | Used for quantification? | Target | Target_Gene(s) | Long-term_curve | Standard_Material | Method used to verify std. material quantity | F_5 | Forward_Primer_Sequence | F_3 | R_5 | Reverse_Primer_Sequence | R_3 | P_5 | Probe_Sequence | P_3 | Automatic or Manual Cycle threshold | Ct Threshold | Automatic Baseline (if applicable) | Baseline Start (if applicable) | Baseline End (if applicable) | Y_intercept | R2 | Slope | Efficiency (%) | Notes
EXAMPLE | 99 | Yes | SARS-CoV-2 | N1 |  | EDX | dPCR | 5' - | GACCCCAAAATCAGCGAAAT | - 3' | 5' - | TCTGGTTACTGCCAGTTGAATCTG | - 3' | 5' - | FAM-ACCCCGCATTACGTTTGGTGGACC-BHQ1 | - 3' | Manual | 100 | NA | NA | NA | 36 | 0.998 | -3.57 | 100
Start here => | 999 | Yes | SARS-CoV-2 | N1 | No | EDX | dPCR | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3' | Manual |  |  |  |  | 38.5 | 0.99731 | -3.4 | 98
| 999 | Yes | SARS-CoV-2 | N2 | No | EDX | dPCR | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3' | Manual |  |  |  |  | 39 | 0.99484 | -3.3 | 101
| 999 | Yes | PMMoV |  | No | Concatenated Plasmid | dPCR | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3' | Manual |  |  |  |  | 40.7 | 0.999 | -3.4 | 96
| 999 | Yes | [5 empty] | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3'
| 999 | [6 empty] | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3'
| 999 | [6 empty] | 5' - |  | - 3' | 5' - |  | - 3' | 5' - |  | - 3'

## qPCR_QC_Data
[9 empty] | Cycle Number |  |  | Concentration Estimate |  |  | Qualifier |  |  | Notes | Qualifier_Notes
[9 empty] | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 |  | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3
| Lab_ID | Method_Used | Biological_Replicate | Type | Spike (A/B/N) | Target | Target_Gene(s) | Fraction | Technical_Replicate_1_CycleNo | Technical_Replicate_2_CycleNo | Technical_Replicate_3_CycleNo | Technical_Replicate_1_Result | Technical_Replicate_2_Result | Technical_Replicate_3_Result | Qualifier_TR1 | Qualifier_TR2 | Qualifier_TR3 |  | Qualifier_Notes_1 | Qualifier_Notes_2 | Qualifier_Notes_3
EXAMPLE | 99 | 1 | 1 | Positive control | N | SARS-CoV-2 | D3N_WT (BA.5) | Solids | 20.6603 | 20.7579 | 20.8284 | 111.3858 | 103.2422 | 117.6733
Start here => | 999 | 1 | 1 | No template control | N | SARS-CoV-2 | N1 | Total | MAX | MAX | MAX | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | No template control | N | SARS-CoV-2 | N2 | Total | MAX | MAX | MAX | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | No template control | N | PMMoV |  | Total | MAX | MAX | MAX | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Positive control | N | SARS-CoV-2 | N1 | Total | 31 | 31 | 31 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Positive control | N | SARS-CoV-2 | N2 | Total | 31 | 31 | 31 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier
| 999 | [17 empty] | No qualifier | No qualifier | No qualifier

## dPCR_QC_Data
[15 empty] | Partitions | [5 empty] | Machine Calculated Conc. Estimate (gc/uL reaction mix) | [8 empty] | Conc. Estimate (gc/mL WW) |  |  | Qualifier |  |  |  | Qualifier_Notes |  |  | Negative Partitions - Calculated |  |  | Theoretical Calculated Conc. Estimate (gc/uL reaction mix) |  |  | Theoretical Calculated Conc. Estimate Using Machine Conc. Estimate (gc/mL WW) |  |  | Percent difference (%)
[15 empty] | Technical Replicate 1 |  | Technical Replicate 2 |  | Technical Replicate 3 |  | Technical Replicate 1 |  |  | Technical Replicate 2 |  |  | Technical Replicate 3 |  |  | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Notes | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3
| Lab_ID | Method_Used | Biological_Replicate | Type | Spike (A/B/N) | Target | Target_Gene(s) | Fraction | ESV (mL) | CF | dESV (mL) | Template_Volume_uL | Rxn_Mix_Total_Volume_uL | Theoretical_Partition_Volume_nL | ValidPartition_Rep_1 | PosPart_Rep_1 | ValidPartition_Rep_2 | PosPart_Rep_2 | ValidPartition_Rep_3 | PosPart_Rep_3 | MachTech_Rep_1_Result_uL | MachTech_Rep_1_95percentLowBound_uL | MachTech_Rep_1_95percentUpBound_uL | MachTech_Rep_2_Result_uL | MachTech_Rep_2_95percentLowBound_uL | MachTech_Rep_2_95percentUpBound_uL | MachTech_Rep_3_Result_uL | MachTech_Rep_3_95percentLowBound_uL | MachTech_Rep_3_95percentUpBound_uL | Technical_Replicate_1_Result_mL | Technical_Replicate_2_Result_mL | Technical_Replicate_3_Result_mL | Qualifier_TR1 | Qualifier_TR2 | Qualifier_TR3 |  | Qualifier_Notes_1 | Qualifier_Notes_2 | Qualifier_Notes_3 | NegPart_Rep_1 | NegPart_Rep_2 | NegPart_Rep_3 | Theo_Rep_1 | Theo_Rep_2 | Theo_Rep_3 | Theo_Rep_Result_1_mL | Theo_Rep_Result_2_mL | Theo_Rep_Result_3_mL | Perc_Diff_1 | Perc_Diff_2 | Perc_Diff_3
EXAMPLE | 99 | 1 | 1 | Positive control | N | SARS-CoV-2 | D3N_WT (BA.5) | Solids | 2 | 400 | 0.908 | 5 | 40 | 0.91 | 25457 | 68 | 24356 | 92 | 25168 | 78 | 3.1576 |  |  | 4.2556 |  |  | 3.5589 |  |  | 64.7488 | 81.3535 | 71.1775 | [7 empty] | 25389 | 25318 | 25090 | 2.9393 | 4.1587 | 3.411 | 58.7856 | 83.1748 | 68.2195 | -2.53 | 4.417 | 0
Start here => | 999 | 1 | 1,2,3 | No template control | N | Influenza A and B |  | Total |  |  |  | 5 | 9 | 0.432 | 0 | [21 empty] | No qualifier | No qualifier | No qualifier | 0 |  |  | #DIV/0! |  |  | #DIV/0!
| 999 | 1 | 1,2,3 | Positive control | N | Influenza A |  | Total |  |  |  | 5 | 9 | 0.432 | 16 | [21 empty] | No qualifier | No qualifier | No qualifier | 16 |  |  | 0 |  |  | #DIV/0!
| 999 | 1 | 1,2,3 | Positive control | N | Influenza B |  | Total |  |  |  | 5 | 9 | 0.432 | 94 | [21 empty] | No qualifier | No qualifier | No qualifier | 94 |  |  | 0 |  |  | #DIV/0!
| 999 | 1 | 1,2,3 | No template control | N | RSV |  | Total |  |  |  | 5 | 9 | 0.432 | 0 | [21 empty] | No qualifier | No qualifier | No qualifier | 0 |  |  | #DIV/0! |  |  | #DIV/0!
| 999 | 1 | 1,2,3 | Positive control | N | RSV A |  | Total |  |  |  | 5 | 9 | 0.432 | 51 | [21 empty] | No qualifier | No qualifier | No qualifier | 51 |  |  | 0 |  |  | #DIV/0!
| 999 | 1 | 1,2,3 | Positive control | N | RSV B |  | Total |  |  |  | 5 | 9 | 0.432 | 146 | [21 empty] | No qualifier | No qualifier | No qualifier | 146 |  |  | 0 |  |  | #DIV/0!
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier
| 999 | [35 empty] | No qualifier | No qualifier | No qualifier

## ESV_CF_Calc
Method relies on volumetric back-calculation of target concentration estimate in wastewater
Parameter | Value | Unit | Notes |  |  |  |  | CONCENTRATION ESTIMATE CALCULATION VERIFICATION | qPCR
Dilution factor (1 = no dilution) | 1 | mL/mL | Dilution factor of the sample (DF = volume after dilution / volume before dilution) | [5 empty] | Standard curve parameters (copies/reaction as concentration units) | [11 empty] | Sample of interest concentration estimate
Sample Volume | 200 | mL | The volume of the sample taken from the distributed sample |  | qPCR
Volume after concentration | 3 | mL | The volume/weight of the sample after concentration |  | ESV = | 0.26667 | mL |  |  |  | Observed Ct
Volume of concentrate used for RNA extraction | 0.4 | mL | The volume/weight of the sample used for extraction (if entire pellet used, this volume matches "Volume after concentration" |  | CF = | 133.3333 |  |  |  | Slope |  | Ct | #DIV/0! | copies | x |  | reaction |  |  |  | = | #DIV/0! | copies
Volume after RNA extraction | 0.2 | mL | Volume of the RNA solution after RNA extraction (i.e. the Eluate volume) | [6 empty] | Intercept |  |  |  | reaction |  | 0.26667 | mL wastewater | [5 empty] | mL wastewater
Volume of diluted sample assayed | 2 | uL | Volume of diluted sample assayed (i.e. the template volume)
if dPCR platform is used | 0.13333 | mL | Volume of original wastewater represented by each µL of template |  | dPCR |  |  |  | dPCR
| 9 | µL | total reaction mixture volume including template and mastermix |  | ESV = | 0.26667 | mL |  |  |  | Observed partitions |  | Theoretical concentration estimate (manufacturer reported volume)
| 0.432 | nL | Manufacturer reported partition volume |  | dESV = | 0.2621 | mL |  |  |  |  | positive partitions | #DIV/0! | copies | x | 9 | µL reaction mixture | x | 1 | µL template | = | #DIV/0! | copies
| 20476.5 | # | Average number of valid partitions | N.B. the ESV of the entire template volume remains the same as that in qPCR. | [7 empty] | valid partitions |  | µL reaction mixture |  | 2 | µL template |  | 0.13333 | mL wastewater |  |  | mL wastewater
| 8.8458 | µL | Average total analyzed reaction mixture volume
| 0.15415 | µL | average non-analyzed volume (i.e., dead volume, µL) - not used in concentration calculations | [9 empty] | Machine output concentration estimate (incorporates volume adjustment factor)
| 1.7128 | % | average dead-volume fraction of a PCR reaction that is loaded onto a dPCR plate or chip but is not transferred into the reaction compartments and is therefore not analyzed (%) - not used in concentration calculations | [10 empty] | copies | x | 9 | µL reaction mixture | x | 1 | µL template | = | 0 | copies
| 1.9657 | µL | Average volume of template actually processed in dPCR reaction - not used in concentration calculations | [10 empty] | µL reaction mixture |  | 2 | µL template |  | 0.13333 | mL wastewater |  |  | mL wastewater
| 0.2621 | mL | Average volume of original wastewater sample processed in dPCR reaction (impacts dPCR sensitivity)
Method relies on mass-based back-calculation (using Total Solids) of target concentration estimate in wastewater
Parameter | Value | Unit | Notes
Starting Total Solids Content |  | mg/mL | Dry weight total solids concentration of wastewater before (measured) | [5 empty] | qPCR
Starting Volume |  | mL | Volume (before) |  | qPCR |  |  |  | Standard curve parameters (copies/reaction as concentration units) | [11 empty] | Sample of interest concentration estimate
Total Solids after removing aliquot for analysis |  | mg/mL | Dry weight total solids concentration of wastewater after (measured) |  | ESV = | #DIV/0! | mL
Volume after removing aliquot for analysis |  | mL | Volume (after) |  | CF= | #DIV/0! |  |  |  |  | Observed Ct
Volume of aliquot taken for analysis | 0 | mL | Volume (taken for analysis) | [6 empty] | Slope |  | Ct | #DIV/0! | copies | x |  | reaction |  |  |  | = | #DIV/0! | copies
Mass balance solids content of aliquot | 0 | mg | Dry weight solids based on mass balance in aliquot taken for analysis (calculated) | [6 empty] | Intercept |  |  |  | reaction |  | #DIV/0! | mL wastewater | [5 empty] | mL wastewater
Total Solids content of aliquot | #DIV/0! | mg/mL | Dry weight total solids concentration of wastewater in aliquot (calculated)
Volume of the original wastewater represented | #DIV/0! | mL | The dry weight solids of the aliquot analyzed would have been derived from this original wastewater volume based on the original total solids concentration (calculated)
Mass after concentration |  | mg | The mass of the sample after concentration (wet)
Mass of concentrate used for RNA extraction |  | mg | The mass of the sample used for analysis (wet)
Volume after RNA extraction |  | mL | Volume of the RNA solution after RNA extraction (i.e. the Eluate volume) (wet)
Dilution factor (1 = no dilution) |  | mL/mL | Dilution factor of the sample (DF = volume after dilution / volume before dilution)
Volume of diluted sample assayed |  | µL | Volume of diluted sample assayed (i.e. the template volume) (wet)
dPCR
if dPCR platform is used | #DIV/0! | mL | Volume of original wastewater represented by each µL of template |  | dPCR | [5 empty] | Observed partitions |  | Theoretical concentration estimate (manufacturer reported volume)
|  | µL | total reaction mixture volume including template and mastermix |  | ESV = | #DIV/0! | mL |  |  |  |  | positive partitions | #DIV/0! | copies | x | 0 | µL reaction mixture | x | 1 | µL template | = | #DIV/0! | copies
|  | nL | Manufacturer reported partition volume |  | dESV = | #DIV/0! | mL |  |  |  |  | valid partitions |  | µL reaction mixture |  | 0 | µL template |  | #DIV/0! | mL wastewater |  |  | mL wastewater
|  | # | Average number of valid partitions | N.B. the ESV of the entire template volume remains the same as that in qPCR.
| 0 | µL | Average total analyzed reaction mixture volume | [9 empty] | Machine output concentration estimate (incorporates volume adjustment factor)
| 0 | µL | average non-analyzed volume (i.e., dead volume, µL) - not used in concentration calculations | [10 empty] | copies | x | 0 | µL reaction mixture | x | 1 | µL template | = | #DIV/0! | copies
| #DIV/0! | % | average dead-volume fraction of a PCR reaction that is loaded onto a dPCR plate or chip but is not transferred into the reaction compartments and is therefore not analyzed (%) - not used in concentration calculations | [10 empty] | µL reaction mixture |  | 0 | µL template |  | #DIV/0! | mL wastewater |  |  | mL wastewater
| #DIV/0! | µL | Average volume of template actually processed in dPCR reaction (not used in concentration calculations)
| #DIV/0! | mL | Average volume of original wastewater sample processed in dPCR reaction (impacts dPCR sensitivity)

## qPCR_Sample_Data
Sample_Date | 20240722 | Date Processed/Concentrated: |  | 2024-07-22
Sample_Site | Unduli | Date Extracted: |  | 2024-07-23
Sample condition: | 4-6 °C | Date Analyzed (quantification): |  | 2024-07-23
[11 empty] | Ct |  |  | Conc. Estimate (gc/mL) |  |  | Conc. Estimate (gc/mg) |  |  | Qualifier |  |  | Notes (e.g., corrective steps for inhibition) | Qualifier_Notes
[11 empty] | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3
| Lab_ID | Method_Used | Biological_Replicate | Type | Spike (A/B/N) | Target | Target_Gene(s) | ESV (mL) | CF | Fraction | Technical_Replicate_1_CycleNo | Technical_Replicate_2_CycleNo | Technical_Replicate_3_CycleNo | Technical_Replicate_1_Result_mL | Technical_Replicate_2_Result_mL | Technical_Replicate_3_Result_mL | Technical_Replicate_1_Result_mg | Technical_Replicate_2_Result_mg | Technical_Replicate_3_Result_mg | Qualifier_TR1 | Qualifier_TR2 | Qualifier_TR3 |  | Qualifier_Notes_1 | Qualifier_Notes_2 | Qualifier_Notes_3
EXAMPLE | 99 | 1 | 1 | Sample | A | SARS-CoV-2 | N2 | 2 | 400 | Solids | 35.1594 | 34.9409 | 37.0283 | 6.8069 | 7.9263 | 1.8511 | 2.3009 | 2.6793 | 0.62571 |  |  | J |  | no qualifier | no qualifier | sample concentration estimate extrapolated
Start here => | 999 | 1 | 1 | Sample | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 33.8 | 33.7 | 33.6 | 16 | 19 | 23 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 2 | Sample | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 34.2 | 34.3 | 34.4 | 12 | 11 | 12 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 3 | Sample | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 33.8 | 33.7 | 33.6 | 15 | 16 | 15 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Sample | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 34 | 34 | 34 | 22 | 22 | 21 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 2 | Sample | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 34 | 34 | 34 | 16 | 17 | 16.5 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 3 | Sample | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 34 | 34 | 34 | 18 | 16 | 20 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Sample | N | PMMoV |  | 0.75 |  | Total | 27 | 27 | 27 | 10000 | 10200 | 10100 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 2 | Sample | N | PMMoV |  | 0.75 |  | Total | 27 | 27 | 27 | 10000 | 10000 | 10000 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 3 | Sample | N | PMMoV |  | 0.75 |  | Total | 27 | 27 | 27 | 9000 | 9000 | 9000 | [7 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Inhibition-external, baseline | N | SARS-CoV-2 | N1 |  |  | Total | 31 | 31 | 31 | [10 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Inhibition-external, spike | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 31 | [12 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 2 | Inhibition-external, spike | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 31 | [12 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 3 | Inhibition-external, spike | N | SARS-CoV-2 | N1 | 1.45 |  | Total | 31 | [12 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Inhibition-external, baseline | N | SARS-CoV-2 | N2 |  |  | Total | 32 | 32 | 32 | [10 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 1 | Inhibition-external, spike | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 32 | [12 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 2 | Inhibition-external, spike | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 32 | [12 empty] | No qualifier | No qualifier | No qualifier
| 999 | 1 | 3 | Inhibition-external, spike | N | SARS-CoV-2 | N2 | 1.45 |  | Total | 32 | [12 empty] | No qualifier | No qualifier | No qualifier
Please report inhibition control raw data in this tab
Q: I need to report something not included in the drop-down menu. How can I do this?
A: To add more items, go to the “Dropdown_Data” spreadsheet tab, then find the appropriate category to edit (by adding new values below existing items). Once added, return to the original cell to input the information.

## dPCR_Sample_Data
Sample_Date | 20240722 | Date Processed/Concentrated: |  | 2024-07-22
Sample_Site | Unduli | Date Extracted: |  | 2024-07-23
Sample condition: | 4-6 °C | Date Analyzed (quantification): |  | 2024-07-26
[15 empty] | Partitions | [5 empty] | Machine Calculated Conc. Estimate (gc/uL reaction mix) | [8 empty] | Conc. Estimate (gc/mL WW) |  |  | Qualifier |  |  | Notes (e.g., corrective steps for inhibition) | Qualifier_Notes |  |  | Negative Partitions - Calculated |  |  | Theoretical Calculated Conc. Estimate (gc/uL reaction mix) |  |  | Theoretical Calculated Conc. Estimate Using Machine Conc. Estimate (gc/mL WW) |  |  | Percent difference (%) |  |  | OCWA_Notes
[15 empty] | Technical Replicate 1 |  | Technical Replicate 2 |  | Technical Replicate 3 |  | Technical Replicate 1 |  |  | Technical Replicate 2 |  |  | Technical Replicate 3 |  |  | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 |  | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3 | Technical Replicate 1 | Technical Replicate 2 | Technical Replicate 3
| Lab_ID | Method_Used | Biological_Replicate | Type | Spike (A/B/N) | Target | Target_Gene(s) | Fraction | ESV (mL) | CF | dESV (mL) | Template_Volume_uL | Rxn_Mix_Total_Volume_uL | Theoretical_Partition_Volume_nL | ValidPartition_Rep_1 | PosPart_Rep_1 | ValidPartition_Rep_2 | PosPart_Rep_2 | ValidPartition_Rep_3 | PosPart_Rep_3 | MachTech_Rep_1_Result_uL | MachTech_Rep_1_95percentLowBound_uL | MachTech_Rep_1_95percentUpBound_uL | MachTech_Rep_2_Result_uL | MachTech_Rep_2_95percentLowBound_uL | MachTech_Rep_2_95percentUpBound_uL | MachTech_Rep_3_Result_uL | MachTech_Rep_3_95percentLowBound_uL | MachTech_Rep_3_95percentUpBound_uL | Technical_Replicate_1_Result_mL | Technical_Replicate_2_Result_mL | Technical_Replicate_3_Result_mL | Qualifier_TR1 | Qualifier_TR2 | Qualifier_TR3 |  | Qualifier_Notes_1 | Qualifier_Notes_2 | Qualifier_Notes_3 | NegPart_Rep_1 | NegPart_Rep_2 | NegPart_Rep_3 | Theo_Rep_1 | Theo_Rep_2 | Theo_Rep_3 | Theo_Rep_Result_1_mL | Theo_Rep_Result_2_mL | Theo_Rep_Result_3_mL | Perc_Diff_1 | Perc_Diff_2 | Perc_Diff_3
EXAMPLE | 99 | 1 | 1 | Sample | A | SARS-CoV-2 | N2 | Solids | 2 | 400 | 0.908 | 5 | 40 | 0.91 | 25457 | 68 | 24356 | 92 | 25168 | 78 | 3.1576 |  |  | 4.2556 |  |  | 3.5589 |  |  | 64.7488 | 81.3535 | 71.1775 | [7 empty] | 25389 | 24264 | 25090 | 2.9393 | 4.1587 | 3.411 | 58.7856 | 83.1748 | 68.2195
Start here => | 999 | 1 | 1 | Sample | N | Influenza A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 3 |  |  | 0 | 0 | 0 | 0.34 | 0.10964 | 1.054 |  |  |  | 0 | 2.0808 |  | ND |  |  |  | Non-detect in sample | No qualifier | No qualifier | 20000 | 19997 |  | 0 | 0.34725 |  | 0 | 4.4646 |  | #DIV/0! | 53.3936
| 999 | 1 | 2 | Sample | N | Influenza A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 3 | Sample | N | Influenza A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 1 |  |  | 0 | 0 | 0 | 0.11 | 0.015941 | 0.80342 |  |  |  | 0 | 0.63077 |  | ND |  |  |  | Non-detect in sample | No qualifier | No qualifier | 20000 | 19999 |  | 0 | 0.11574 |  | 0 | 1.4881 |  | #DIV/0! | 57.6132
| 999 | 1 | 1 | Sample | N | Influenza B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 2 | Sample | N | Influenza B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 3 | Sample | N | Influenza B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 1 | Sample | N | RSV A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 2 | Sample | N | RSV A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 3 | Sample | N | RSV A |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 1 | Sample | N | RSV B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 2 | Sample | N | RSV B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 1 | 3 | Sample | N | RSV B |  | Total | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  | 0 | 0 |  | ND | ND |  |  | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 |  | 0 | 0 |  | 0 | 0 |  | #DIV/0! | #DIV/0!
| 999 | 0 | 1 | RNA-Extract |  | Influenza A |  |  | 0.7 |  | 0.7 | 5 | 9 | 0.432 | 20000 | 50 | 20000 | 50 | 20000 | 50 | 5 | 6 | 7 | 5 | 6 | 7 | 5 | 6 | 7 | 5 | 6 | 7 |  |  |  | Waste Water RNA Extract | No qualifier | No qualifier | No qualifier | 19950 | 19950 | 19950 | 5.7943 | 5.7943 | 5.7943 | 74.4979 | 74.4979 | 74.4979 | 93.2884 | 91.9461 | 90.6038
| 999 | 0 | 1 | RNA-Extract |  | Influenza B | [5 empty] | 5 | 9 | 0.432 | 20000 | 150 | 20000 | 150 | 20000 | 150 | 15 | 16 | 17 | 15 | 16 | 17 | 15 | 16 | 17 | 15 | 16 | 17 |  |  |  | Waste Water RNA Extract | No qualifier | No qualifier | No qualifier | 19850 | 19850 | 19850 | 17.4265 | 17.4265 | 17.4265 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 999 | 0 | 1 | RNA-Extract |  | RSV A | [5 empty] | 5 | 9 | 0.432 | 20000 | 0 | 20000 | 0 | 20000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | ND | ND |  | Waste Water RNA Extract | Non-detect in sample | Non-detect in sample | No qualifier | 20000 | 20000 | 20000 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
| 999 | 0 | 1 | RNA-Extract |  | RSV B | [5 empty] | 5 | 9 | 0.432 | 20000 | 250 | 20000 | 250 | 20000 | 250 | 30 | 29 | 28 | 30 | 29 | 28 | 30 | 29 | 28 | 30 | 29 | 28 |  |  |  | Waste Water RNA Extract | No qualifier | No qualifier | No qualifier | 19750 | 19750 | 19750 | 29.1176 | 29.1176 | 29.1176 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Qualifier_Flowchart
https://www.ontario.ca/page/protocol-analyzing-wastewater-samples

## Dropdown_Data
Type | QC Type | Spike (A/B/N) | Target | Target_Gene(s) | Influenza_RSV_Gene(s) | Fraction | Technical_Replicate_X_CycleNo | Technical_Replicate_X_Result | Result_units | Notes (e.g., corrective steps for inhibition) | Qualifier | Qualifier notes | Standard Materials | Quan_indicator | Extraction Kits | Std. Material Quant. | Platform | Method Used
Sample | Extraction blank | A | SARS-CoV-2 | N1 | Influenza: M1 | Supernatant | <Enter a decimal> | <Enter a decimal> | gene copies/mL | Varies |  | No qualifier | EDX | Yes | AllPrep PowerViral DNA/RNA Kit - QIAGEN | dPCR | dPCR | 1
RNA-Extract | Mock | B | PMMoV | N2 | Influenza: NS | Solids | MAX | ND | ng/ul DNA/RNA extract |  | B | Negative control failed; sample concentration estimate reported (within linear range) | in-house/g-block | No | Cepheid Xpert® Xpress SARS-CoV-2 | ddPCR | qPCR | 2
Inhibition-external, baseline | Negative control | N | BCoV | E | RSV: N | Total |  |  | gene copies/uL |  | FI | Failed inhibition | Concatenated Plasmid |  | MagMAX™-96 Viral RNA Isolation Kit | Other |  | 3
Inhibition-external, spike | No reverse transcriptase |  | BRSV | D3N_VAR (BA.5) | RSV: NS2 |  |  |  | gene copies/reaction |  | AI | Addressed inhibition; sample concentration estimate reported | ATCC |  | MagNA Pure 96 DNA and Viral NA Large Volume Kit | Not Verified |  | 4
Inhibition-external, diluted | No template control |  | crAssphage | D3N_WT (BA.5) | [6 empty] | ND | Non-detect in sample | ddPCR pooled sample |  | NucleoMag RNA kit for magnetic bead based RNA purification |  |  | 5
Inhibition-endogenous | Positive control |  | FRNA Genotype 2 | D63G | [6 empty] | J | Sample concentration estimate extrapolated | TWIST |  | NucliSENS® easyMag® ¦ bioMérieux |  |  | 6
Inhibition-endogenous, diluted | Whole processing blank |  | HCoV-229E | F157L_V (BA. 2.75) | [6 empty] | UJ | Trace concentration detected | Vircell |  | QIAamp Viral RNA mini kit - QIAprep&amp Viral RNA mini kit |  |  | 7
| Spiked extraction blank (229E & MHV) |  | HCoV-OC43 | F157L_WT (BA. 2.75) | [8 empty] | VetMAX - Xeno |  | RNeasy PowerFecal Pro Kit - QIAGEN |  |  | 8
| ExtractRun-Extraction blank |  | Internal RNA postive control | FAM | [8 empty] | Asuragen |  | magnetiQ RNA/DNA Wastewater Extraction Kit - Galenvs |  |  | 9
| ExtractRun-Mock |  | Lentivirus | HEX | [8 empty] | <Add in "Dropdown_Data" Tab> |  | <Add in "Dropdown_Data" Tab> |  |  | <Add in "Dropdown_Data" Tab>
| ExtractRun-Negative control |  | MHV | L11F_V (BA. 4)
| ExtractRun-No reverse transcriptase |  | Mouse ACTB | L11F_WT (BA. 4)
| ExtractRun-No template control |  | MS2 | N: Ingenetix
| ExtractRun-Positive control |  | Promega-developed | N_D377Y_V
| ExtractRun-Whole processing blank |  | Salmon DNA | N_D377Y_WT
| ExtractRun-Spiked extraction blank (229E & MHV) |  | Synthetic human RNaseP DNA | N1/E
|  |  | WNV | N1/N2
|  |  | Xeno | N200: Delta
|  |  | Zebrafish | N200: Omicron/Alpha
|  |  | Influenza A | N200: Universal
|  |  | Influenza B | N200-R203K (Omicron Total)
|  |  | RSV | N200-R203M (Delta)
|  |  | RSV A | N460K_V (BA. 2.75)
|  |  | RSV B | N460K_WT (BA. 2.75)
N63
S_E484K_V
S_E484K_WT
S_L452_Q (BA. 2.12.1)
S_L452_R (BA.4/5)
S_L452_WT (BA. 2)
S_N501Y_V (Omicron Total)
S_N501Y_WT (Other)
S413R_V (BA. 2)
S413R_WT (BA. 2)
S69-70-DEL (BA.1)
S69-70-WT (BA. 4/5)
SDel_V (BA. 4/5)
SDel_VO (BA. 1)
SDel_WT (BA. 4/5)

## Version_Notes_Internal
Round | Round_Date | Change Log | Modified_by
Quarrie | 2023-07-31 | -dPCR specific sheets added -ESV calculator re-done to consolidate and add dPCR -Method summary sheet transposed for viewability improvement -Method summary sheet had a variable name column added (hidden column D) -green calculated columns protected (no password) to prevent inadvertant modification | Alex Chik Chris Adam
Rey | 2023-10-30 | -added new participants - removed RNA extract sheets from Quarrie round's one-off per feedback from labs: - clarified input type for Methods tab qPCR threshold cycles (confirmed no restriction on entering text vs. decimal value) - added hover elaboration on concentrate volume in Methods tab - added blank columns in dPCR_QC_data, dPCR_Sample_Data for 95% CI, moved calculated/check columns to the end - edited validation lock on dPCR_QC_data to accept 0 partitions (prev. >0) -updated data validation restriction on Lab number -added Qualifier dropdowns and notes for qPCR_QC_Data same as dPCR_QC_Data | Jane Ho Chris Adam
Skywalker | 2024-01-29 | -fixed 'Method Used' dropdown list in all applicable sheets -moved calculated validation check columns in dPCR_QC_Data to end same as dPCR_Sample_Data -corrected dESV formula error in ESV_CF_Calc sheet -remove internal standard curve plot sheet | Chris Adam
Tarkin | 2024-04-11 | -added QMS header -simplified redundant top rows in std_curve and _Data sheets for ease of data entry -removed concatenated string columns from most worksheets and off-loaded to R to simplify data entry -moved calculated Qualifier columns to after the 'Notes' columns for visibility -changed visible comment bubbles that interfered with viewing to be popup tooltips when clicking on applicable cells -added a 'Long-term_curve' column in Std_Curve_Summary to track participants using a long-term standard curve to quantify concentration estimates reported | Chris Adam
Unduli | 2024-07-14 | -updated Round specific details -updated lab ID list -minor formatting tweaks on Method_Summary tab -added RNA extract options to 'Type' and 'QC Type' dropdown menus | Chris Adam Jane Ho

## validation (hidden)
Target | Target_Gene(s) |  |  | Target | Target_Gene(s) |  |  | Target | Target_Gene(s) |  |  | Target | Target_Gene(s)
SARS-CoV-2 | N1 |  |  | SARS-CoV-2 | N2 |  |  | SARS-CoV-2 | E |  |  | PMMoV
Data point No
Entered |  |  |  | Entered |  |  |  | Entered |  |  |  | Entered
Y-intercept | - 3' |  |  | Y-intercept | - 3' |  |  | Y-intercept | #N/A |  |  | Y-intercept | - 3'
R2 | 5' - |  |  | R2 | 5' - |  |  | R2 | #N/A |  |  | R2 | #N/A
Slope | 0 |  |  | Slope | 0 |  |  | Slope | #N/A |  |  | Slope | #N/A
Efficiency (%) | - 3' |  |  | Efficiency (%) | - 3' |  |  | Efficiency (%) | #N/A |  |  | Efficiency (%) | #N/A
Claculated |  |  |  | Claculated |  |  |  | Claculated |  |  |  | Claculated
Y-intercept | #REF! |  |  | Y-intercept | #REF! |  |  | Y-intercept | #REF! |  |  | Y-intercept | #REF!
R2 | #REF! |  |  | R2 | #REF! |  |  | R2 | #REF! |  |  | R2 | #REF!
Slope | #REF! |  |  | Slope | #REF! |  |  | Slope | #REF! |  |  | Slope | #REF!
Efficiency (%) (use entered curve) | #DIV/0! |  |  | Efficiency (%) (use entered curve) | #DIV/0! |  |  | Efficiency (%) (use entered curve) | #N/A |  |  | Efficiency (%) (use entered curve) | #N/A
Efficiency (%) (use entered data) | #REF! |  |  | Efficiency (%) (use entered data) | #REF! |  |  | Efficiency (%) (use entered data) | #REF! |  |  | Efficiency (%) (use entered data) | #REF!
data |  |  |  | data |  |  |  | data |  |  |  | data
row | Conc_std | Conc_std (log) | Average_ct | row | Conc_std | Conc_std (log) | Average_ct | row | Conc_std | Conc_std (log) | Average_ct | row | Conc_std | Conc_std (log) | Average_ct
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
#N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF! | #N/A | #REF! | #REF! | #REF!
Note on B3: OCWA: SARS-CoV-2, PMMoV, HCoV-229E, crAssphage
Note on C3: OCWA: only for SARS-CoV-2: N1, N2, E, other?
Note on G3: OCWA: SARS-CoV-2, PMMoV, HCoV-229E, crAssphage
Note on H3: OCWA: only for SARS-CoV-2: N1, N2, E, other?
Note on L3: OCWA: SARS-CoV-2, PMMoV, HCoV-229E, crAssphage
Note on M3: OCWA: only for SARS-CoV-2: N1, N2, E, other?
Note on Q3: OCWA: SARS-CoV-2, PMMoV, HCoV-229E, crAssphage
Note on R3: OCWA: only for SARS-CoV-2: N1, N2, E, other?